**Merlin CO2 Monitor - Specification**

|  |  |  |
| --- | --- | --- |
| Area To Be Located | Manufacturer | Product Code |
| Ground Floor – Tyre Fitter Room | S&S Northern Ltd | * 1 x Merlin CO2X Monitor |

**Carbon Dioxide Monitors**

The Carbon Dioxide Monitors should be supplied by S&S Northern Ltd (T: 01257 470983).

The Merlin CO2X Monitors should be fitted in all office spaces & meeting rooms to consistent monitor the air quality within each area to meet Building Regulations – Part F (June 2022).

The Merlin CO2X Monitor has a LCD screen which will show the user the PPM level within the area and also the temperature. There is a traffic light background to make the sensor easy to understand and will change colour based on the PPM levels within the room.

The Merlin CO2X Monitor has the facility to send all the information to a central BMS control panel using a 0-10V linear output.

1 x Merlin CO2X Monitor

**Contact Details –**

George Dobson – Sales Manager

S&S Northern Ltd

07903 715667 – [george@snsnorthern.com](mailto:george@snsnorthern.com)